## data
_id | point_id | opc_tag | describe | device_description_chinese | serial | instrument | device_name_chinese | belong_co | status | value_min | value_max | unit | last_monitor_time | thickener_id | mixer_id | value_max_2 | value_min_2
{'$oid': '604c8a451349e5c153ca691e'} | 1 | SOUTHEASTORE_PRJ_OS::AI-311TH01/MonAnalog.PV_Out#Value | #1 Thickener Overflow Turbidity | #1浓密机溢流水浊度 | AI-311TH01 | Turbidity Indicate | 浊度计 | METSO | normal | 0 | 30 | ppm | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a451349e5c153ca691f'} | 2 | SOUTHEASTORE_PRJ_OS::AI-311TH02/MonAnalog.PV_Out#Value | #2 Thickener Overflow Turbidity | #2浓密机溢流水浊度 | AI-311TH02 | Turbidity Indicate | 浊度计 | METSO | normal | 0 | 30 | ppm | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '604c8a451349e5c153ca6920'} | 3 | SOUTHEASTORE_PRJ_OS::DI-210AG01/MonAnalog.PV_Out#Value | #1 Mixer Pump Discharge Concentration | #1搅拌机出料浓度 | DI-210AG01 | Density Indicator | 浓度计 | METSO | normal | 0 | 75 | % | {'$date': '2019-11-25T12:24:40Z'} | 0 | 1 | 0 | 0
{'$oid': '604c8a451349e5c153ca6921'} | 4 | SOUTHEASTORE_PRJ_OS::DI-210AG02/MonAnalog.PV_Out#Value | #2 Mixer Pump Discharge Concentration | #2搅拌机出料浓度 | DI-210AG02 | Density Indicator | 浓度计 | METSO | normal | 0 | 75 | % | {'$date': '2019-11-25T12:24:40Z'} | 0 | 2 | 0 | 0
{'$oid': '604c8a451349e5c153ca6922'} | 5 | SOUTHEASTORE_PRJ_OS::DI-311TH01A/MonAnalog.PV_Out#Value | #1 Thickener Feed Concentration | #1浓密机进料浓度 | DI-311TH01A | Density Indicator | 浓度计 | METSO | normal | 0 | 50 | % | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a451349e5c153ca6923'} | 6 | SOUTHEASTORE_PRJ_OS::DI-311TH02A/MonAnalog.PV_Out#Value | #2 Thickener Feed Concentration | #2浓密机进料浓度 | DI-311TH02A | Density Indicator | 浓度计 | METSO | normal | 0 | 50 | % | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '604c8a451349e5c153ca6924'} | 7 | SOUTHEASTORE_PRJ_OS::DIC-311TH01B_Back/MonAnalog.PV#Value | #1 Thickener Discharge Concentration | #1浓密机出料浓度-充填 | DIC-311TH01B | Density Indicator | 浓度计 | METSO | normal | -99999999 | 70 | % | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a451349e5c153ca6925'} | 8 | SOUTHEASTORE_PRJ_OS::DIC-311TH02B_Back/MonAnalog.PV#Value | #2 Thickener Discharge Concentration | #2浓密机出料浓度-充填 | DIC-311TH02B | Density Indicator | 浓度计 | METSO | normal | -99999999 | 70 | % | {'$date': '2021-06-15T06:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '604c8a461349e5c153ca6926'} | 9 | SOUTHEASTORE_PRJ_OS::FI-210AG01/MonAnalog.PV#Value | #1 Mixer Discharge flow | #1搅拌机出料流量 | FI-210AG01 | Flow Indicator | 流量计 | METSO | normal | -1 | 185 | m3/h | {'$date': '2019-11-25T15:24:40Z'} | 0 | 1 | 0 | 0
{'$oid': '604c8a461349e5c153ca6927'} | 10 | SOUTHEASTORE_PRJ_OS::FI-210AG02/MonAnalog.PV#Value | #2 Mixer Discharge Flow | #2搅拌机出料流量 | FI-210AG02 | Flow Indicator | 流量计 | METSO | normal | -1 | 185 | m3/h | {'$date': '2019-11-25T12:24:40Z'} | 0 | 2 | 0 | 0
{'$oid': '604c8a461349e5c153ca6928'} | 11 | SOUTHEASTORE_PRJ_OS::FI-311TH01A/MonAnalog.PV#Value | #1 Thickener Feed Flow | #1浓密机进料流量 | FI-311TH01A | Flow Indicator | 流量计 | METSO | normal | 0 | 1500 | m3/h | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a461349e5c153ca6929'} | 12 | SOUTHEASTORE_PRJ_OS::FI-311TH02A/MonAnalog.PV#Value | #2 Thickener Feed Flow | #2浓密机进料流量 | FI-311TH02A | Flow Indicator | 流量计 | METSO | normal | 0 | 1500 | m3/h | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '604c8a461349e5c153ca692a'} | 13 | SOUTHEASTORE_PRJ_OS::FIC-311PS05/PID.PV#Value | #1 Thickener Dilution Water Flow DN100mm | #1浓密机稀释水流量DN100mm | FIC-311PS05 | Flow Indicator | 流量计 | METSO | normal | -2 | 100 | m3/h | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a461349e5c153ca692b'} | 14 | SOUTHEASTORE_PRJ_OS::FIC-311PS07/PID.PV#Value | #2 Thickener Dilution Water Flow DN100mm | #2浓密机稀释水流量DN100mm | FIC-311PS07 | Flow Indicator | 流量计 | METSO | normal | -2 | 70 | m3/h | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '604c8a461349e5c153ca692c'} | 15 | SOUTHEASTORE_PRJ_OS::FIC-311PS08/PID.PV#Value | #1 Thickener Dilution Water Flow DN40mm | #1浓密机稀释水流量DN40mm | FIC-311PS08 | Flow Indicator | 流量计 | METSO | normal | -2 | 100 | m3/h | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a461349e5c153ca692d'} | 16 | SOUTHEASTORE_PRJ_OS::FIC-311PS10/PID.PV#Value | #2 Thickener Dilution Water Flow DN40mm | #2浓密机稀释水流量DN40mm | FIC-311PS10 | Flow Indicator | 流量计 | METSO | normal | -2 | 70 | m3/h | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '604c8a461349e5c153ca692e'} | 17 | SOUTHEASTORE_PRJ_OS::FI-311TH01B/MonAnalog.PV#Value | #1 Thickener Discharge Flow | #1浓密机底流流量 | FIC-311TH01B | Flow Indicator | 流量计 | METSO | normal | -1 | 300 | m3/h | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a461349e5c153ca692f'} | 18 | SOUTHEASTORE_PRJ_OS::FI-311TH02B/MonAnalog.PV#Value | #2 Thickener Discharge Flow | #2浓密机底流流量 | FIC-311TH02B | Flow Indicator | 流量计 | METSO | normal | -1 | 300 | m3/h | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '604c8a461349e5c153ca6930'} | 19 | SOUTHEASTORE_PRJ_OS::HIC-311PS01A/Valve.Status2 | #1 Thickener Discharge Pump 1 Inlet Valve | #1浓密机1号泵入料阀门 | HIC-311PS01A | Valve | 阀门 | METSO | normal | -1 | 2 | - | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a471349e5c153ca6931'} | 20 | SOUTHEASTORE_PRJ_OS::HIC-311PS01B/Valve.Status2 | #1 Thickener Discharge Pump 1 Discharge Valve | #1浓密机1号泵出料阀门 | HIC-311PS01B | Valve | 阀门 | METSO | normal | -1 | 2 | - | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a471349e5c153ca6932'} | 21 | SOUTHEASTORE_PRJ_OS::HIC-311PS01C/Valve.Status2 | #1 Thickener Discharge Pump 1 SY1-1 Water Addition Valve DN100mm | #1浓密机1号泵稀释水阀门DN100mm | HIC-311PS01C | Valve | 阀门 | METSO | normal | -1 | 2 | - | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a471349e5c153ca6933'} | 22 | SOUTHEASTORE_PRJ_OS::HIC-311PS01D/Valve.Status2 | #1 Thickener Discharge Pump 1 SY2-1 Water Addition Valve DN40mm | #1浓密机1号泵稀释水阀门DN40mm | HIC-311PS01D | Valve | 阀门 | METSO | normal | -1 | 2 | - | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a471349e5c153ca6934'} | 23 | SOUTHEASTORE_PRJ_OS::HIC-311PS02A/Valve.Status2 | #1 Thickener Discharge Pump 2 Inlet Valve | #1浓密机2号泵入料阀门 | HIC-311PS02A | Valve | 阀门 | METSO | normal | -1 | 2 | - | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a471349e5c153ca6935'} | 24 | SOUTHEASTORE_PRJ_OS::HIC-311PS02B/Valve.Status2 | #1 Thickener Discharge Pump 2 Discharge Valve | #1浓密机2号泵出料阀门 | HIC-311PS02B | Valve | 阀门 | METSO | normal | -1 | 2 | - | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a471349e5c153ca6936'} | 25 | SOUTHEASTORE_PRJ_OS::HIC-311PS02C/Valve.Status2 | #1 Thickener Discharge Pump 2 SY1-1 Water Addition Valve DN100mm | #1浓密机2号泵稀释水阀门DN100mm | HIC-311PS02C | Valve | 阀门 | METSO | normal | -1 | 2 | - | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a471349e5c153ca6937'} | 26 | SOUTHEASTORE_PRJ_OS::HIC-311PS02D/Valve.Status2 | #1 Thickener Discharge Pump 2 SY2-1 Water Addition Valve DN40mm | #1浓密机2号泵稀释水阀门DN40mm | HIC-311PS02D | Valve | 阀门 | METSO | normal | -1 | 2 | - | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a471349e5c153ca6938'} | 27 | SOUTHEASTORE_PRJ_OS::HIC-311PS03A/Valve.Status2 | #2 Thickener Discharge Pump 1 Inlet Valve | #2浓密机1号泵入料阀门 | HIC-311PS03A | Valve | 阀门 | METSO | normal | -1 | 2 | - | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '604c8a471349e5c153ca6939'} | 28 | SOUTHEASTORE_PRJ_OS::HIC-311PS03B/Valve.Status2 | #2 Thickener Discharge Pump 1 Discharge Valve | #2浓密机1号泵出料阀门 | HIC-311PS03B | Valve | 阀门 | METSO | normal | -1 | 2 | - | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '604c8a471349e5c153ca693a'} | 29 | SOUTHEASTORE_PRJ_OS::HIC-311PS03C/Valve.Status2 | #2 Thickener Discharge Pump 1 SY1-1 Water Addition Valve DN100mm | #2浓密机1号泵稀释水阀门DN100mm | HIC-311PS03C | Valve | 阀门 | METSO | normal | -1 | 2 | - | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '604c8a481349e5c153ca693b'} | 30 | SOUTHEASTORE_PRJ_OS::HIC-311PS03D/Valve.Status2 | #2 Thickener Discharge Pump 1 SY2-1 Water Addition Valve DN40mm | #2浓密机1号泵稀释水阀门DN40mm | HIC-311PS03D | Valve | 阀门 | METSO | normal | -1 | 2 | - | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '604c8a481349e5c153ca693c'} | 31 | SOUTHEASTORE_PRJ_OS::HIC-311PS04A/Valve.Status2 | #2 Thickener Discharge Pump 2 Inlet Valve | #2浓密机2号泵入料阀门 | HIC-311PS04A | Valve | 阀门 | METSO | normal | -1 | 2 | - | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '604c8a481349e5c153ca693d'} | 32 | SOUTHEASTORE_PRJ_OS::HIC-311PS04B/Valve.Status2 | #2 Thickener Discharge Pump 2 Discharge Valve | #2浓密机2号泵出料阀门 | HIC-311PS04B | Valve | 阀门 | METSO | normal | -1 | 2 | - | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '604c8a481349e5c153ca693e'} | 33 | SOUTHEASTORE_PRJ_OS::HIC-311PS04C/Valve.Status2 | #2 Thickener Discharge Pump 2 SY1-1 Water Addition Valve DN100mm | #2浓密机2号泵稀释水阀门DN100mm | HIC-311PS04C | Valve | 阀门 | METSO | normal | -1 | 2 | - | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '604c8a481349e5c153ca693f'} | 34 | SOUTHEASTORE_PRJ_OS::HIC-311PS04D/Valve.Status2 | #2 Thickener Discharge Pump 2 SY2-1 Water Addition Valve DN40mm | #2浓密机2号泵稀释水阀门DN40mm | HIC-311PS04D | Valve | 阀门 | METSO | normal | -1 | 2 | - | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '604c8a481349e5c153ca6940'} | 35 | SOUTHEASTORE_PRJ_OS::HIC-311TH01B/Valve.Status2 | #1 Thickener Pumps Discharge Valve 2 - Tailing Pump | #1浓密机排尾阀门 | HIC-311TH01B | Valve | 阀门 | METSO | normal | -1 | 2 | - | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a481349e5c153ca6941'} | 36 | SOUTHEASTORE_PRJ_OS::HIC-311TH01C/Valve.Status2 | #1 Thickener Pumps Discharge Valve 3 - CEMENT MIXER 1 | #1浓密机充填阀门 | HIC-311TH01C | Valve | 阀门 | METSO | normal | -1 | 2 | - | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a481349e5c153ca6942'} | 37 | SOUTHEASTORE_PRJ_OS::HIC-311TH01D/Valve.Status2 | #1 Thickener Recirc Valve | #1浓密机底流循环阀门 | HIC-311TH01D | Valve | 阀门 | METSO | normal | -1 | 2 | - | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a481349e5c153ca6943'} | 38 | SOUTHEASTORE_PRJ_OS::HIC-311TH02B/Valve.Status2 | #2 Thickener Pumps Discharge Valve 2 - Tailing Pump #1 | #2浓密机排尾阀门 | HIC-311TH02B | Valve | 阀门 | METSO | normal | -1 | 2 | - | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '604c8a481349e5c153ca6944'} | 39 | SOUTHEASTORE_PRJ_OS::HIC-311TH02C/Valve.Status2 | #2 Thickener Pumps Discharge Valve 3 - CEMENT MIXER 2 | #2浓密机充填阀门 | HIC-311TH02C | Valve | 阀门 | METSO | normal | -1 | 2 | - | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '604c8a481349e5c153ca6945'} | 40 | SOUTHEASTORE_PRJ_OS::HIC-311TH02D/Valve.Status2 | #2 Thickener Recirc Valve | #2浓密机底流循环阀门 | HIC-311TH02D | Valve | 阀门 | METSO | normal | -1 | 2 | - | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '604c8a491349e5c153ca6946'} | 41 | SOUTHEASTORE_PRJ_OS::HIS-210AG01-01/DriveSpeedContr.RbkOut#Value | #1 Mixer First Stage Stirring Speed | #1搅拌机一段旋桨转速 | HIS-210AG01-01 | Mixer | 搅拌机 | METSO | normal | -1 | 55 | % | {'$date': '2019-11-25T12:24:40Z'} | 0 | 1 | 0 | 0
{'$oid': '604c8a491349e5c153ca6947'} | 42 | SOUTHEASTORE_PRJ_OS::HIS-210AG01-02/DriveSpeedContr.RbkOut#Value | #1 Mixer Secondary Stage Stirring Speed | #1搅拌机二段旋桨转速 | HIS-210AG01-02 | Mixer | 搅拌机 | METSO | normal | -1 | 55 | % | {'$date': '2019-11-25T12:24:40Z'} | 0 | 1 | 0 | 0
{'$oid': '604c8a491349e5c153ca6948'} | 43 | SOUTHEASTORE_PRJ_OS::HIS-210AG02-01/DriveSpeedContr.RbkOut#Value | #2 Mixer First Stage Stirring Speed | #2搅拌机一段旋桨转速 | HIS-210AG02-01 | Mixer | 搅拌机 | METSO | normal | -1 | 55 | % | {'$date': '2019-11-25T12:24:40Z'} | 0 | 2 | 0 | 0
{'$oid': '604c8a491349e5c153ca6949'} | 44 | SOUTHEASTORE_PRJ_OS::HIS-210AG02-02/DriveSpeedContr.RbkOut#Value | #2 Mixer Secondary Stage Stirring Speed | #2搅拌机二段旋桨转速 | HIS-210AG02-02 | Mixer | 搅拌机 | METSO | normal | -1 | 55 | % | {'$date': '2019-11-25T12:24:40Z'} | 0 | 2 | 0 | 0
{'$oid': '604c8a491349e5c153ca694a'} | 45 | SOUTHEASTORE_PRJ_OS::HIS-311TH01/DriveSpeedContr.RbkOut#Value | #1 Thickener Rake Speed | #1浓密机耙架转速 | HIS-311TH01 | Rake | 杷架 | METSO | normal | -1 | 60 | rpm | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a491349e5c153ca694b'} | 46 | SOUTHEASTORE_PRJ_OS::HIS-311TH02/DriveSpeedContr.RbkOut#Value | #2 Thickener Rake Speed | #2浓密机耙架转速 | HIS-311TH02 | Rake | 杷架 | METSO | normal | -1 | 60 | rpm | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '604c8a491349e5c153ca694c'} | 47 | NULL | #1 Mixer Slurry concentration(Calculation) | #1搅拌机膏体浓度(计算值) | NULL | METSO | normal | 0 | 100 | % | {'$date': '2019-11-25T12:24:40Z'} | 0 | 1 | Mixer | 搅拌机 | 0 | 0
{'$oid': '604c8a491349e5c153ca694d'} | 48 | NULL | #2 Mixer Slurry concentration(Calculation) | #2搅拌机膏体浓度(计算值) | NULL | METSO | normal | 0 | 100 | % | {'$date': '2019-11-25T12:24:40Z'} | 0 | 2 | Mixer | 搅拌机 | 0 | 0
{'$oid': '604c8a491349e5c153ca694e'} | 49 | SOUTHEASTORE_PRJ_OS::FIC-311TH01B/OCS.PV_Out#Value | #1 Thickener Discharge Flow | #1浓密机底流流量(跟踪值) | FIC-311TH01B | Flow Indicator | 流量计 | METSO | normal | -1 | 400 | m3/h | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a491349e5c153ca694f'} | 50 | SOUTHEASTORE_PRJ_OS::FIC-311TH02B/OCS.PV_Out#Value | #2 Thickener Discharge Flow | #2浓密机底流流量(跟踪值) | FIC-311TH02B | Flow Indicator | 流量计 | METSO | normal | -1 | 400 | m3/h | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '604c8a491349e5c153ca6950'} | 51 | SOUTHEASTORE_PRJ_OS::LI-210BN01/MonAnalog.PV_Out#Value | #1 Cement Silo Level | #1水泥仓物料高度 | LI-210BN01 | Level Indicator | 液位计 | METSO | normal | 0 | 100 | % | {'$date': '2019-11-25T12:24:40Z'} | 0 | 0 | 0 | 0
{'$oid': '604c8a4a1349e5c153ca6951'} | 52 | SOUTHEASTORE_PRJ_OS::LI-210BN02/MonAnalog.PV_Out#Value | #2 Cement Silo Level | #2水泥仓物料高度 | LI-210BN02 | Level Indicator | 液位计 | METSO | normal | 0 | 100 | % | {'$date': '2019-11-25T12:24:40Z'} | 0 | 0 | 0 | 0
{'$oid': '604c8a4a1349e5c153ca6952'} | 53 | SOUTHEASTORE_PRJ_OS::LI-311TH01/MonAnalog.PV_Out#Value | #1 Thickener Mud Level | #1浓密机泥层高度 | LI-311TH01 | Level Indicator | 液位计 | METSO | normal | 0 | 20 | m | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a4a1349e5c153ca6953'} | 54 | SOUTHEASTORE_PRJ_OS::LI-311TH02/MonAnalog.PV_Out#Value | #2 Thickener Mud Level | #2浓密机泥层高度 | LI-311TH02 | Level Indicator | 液位计 | METSO | normal | 0 | 20 | m | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '604c8a4a1349e5c153ca6954'} | 55 | SOUTHEASTORE_PRJ_OS::Dosing$Pump$A/Flow_SP.PV_In#Value | #1 Thickener Flocculant Flow | #1浓密机絮凝剂流量 | FI-311FL01D | Flow Indicator | 流量计 | METSO | normal | 0 | 70 | m3/h | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a4a1349e5c153ca6955'} | 56 | SOUTHEASTORE_PRJ_OS::Dosing$Pump$C/Flow_SP.PV_In#Value | #2 Thickener Flocculant Flow | #2浓密机絮凝剂流量 | FI-311FL01C | Flow Indicator | 流量计 | METSO | normal | 0 | 70 | m3/h | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '604c8a4a1349e5c153ca6956'} | 57 | SOUTHEASTORE_PRJ_OS::HIS-210FDM01/Motor.RbkOut#Value | #1 Instant Cement Delivery | #1 搅拌机水泥添加速度(实际值) | HIS-210FDM01 | Cement Conveyor Belt | 水泥传送带 | METSO | normal | 0 | 200 | t/h | {'$date': '2019-11-25T12:24:40Z'} | 0 | 1 | 0 | 0
{'$oid': '604c8a4a1349e5c153ca6957'} | 58 | SOUTHEASTORE_PRJ_OS::HIS-210FDM02/Motor.RbkOut#Value | #2 Instant Cement Delivery | #2 搅拌机水泥添加速度(实际值) | HIS-210FDM02 | Cement Conveyor Belt | 水泥传送带 | METSO | normal | 0 | 200 | t/h | {'$date': '2019-11-25T12:24:40Z'} | 0 | 2 | 0 | 0
{'$oid': '604c8a4a1349e5c153ca6958'} | 59 | SOUTHEASTORE_PRJ_OS::OI-311TH01-01/MonAnalog.PV#Value | #1 Thickener Rake Torque-1 | #1浓密机耙架扭矩值-1 | OI-311TH01-01 | Rake | 耙架 | METSO | normal | 20 | 60 | -99999999 | 2 | % | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0
{'$oid': '604c8a4a1349e5c153ca6959'} | 60 | SOUTHEASTORE_PRJ_OS::OI-311TH01-02/MonAnalog.PV#Value | #1 Thickener Rake Torque-2 | #1浓密机耙架扭矩值-2 | OI-311TH01-02 | Rake | 耙架 | METSO | normal | 20 | 60 | % | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | -99999999 | 2
{'$oid': '604c8a4a1349e5c153ca695a'} | 61 | SOUTHEASTORE_PRJ_OS::OI-311TH01-03/MonAnalog.PV#Value | #1 Thickener Rake Torque-3 | #1浓密机耙架扭矩值-3 | OI-311TH01-03 | Rake | 耙架 | METSO | normal | 20 | 60 | % | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | -99999999 | 2
{'$oid': '604c8a4a1349e5c153ca695b'} | 62 | SOUTHEASTORE_PRJ_OS::OI-311TH01-04/MonAnalog.PV#Value | #1 Thickener Rake Torque-4 | #1浓密机耙架扭矩值-4 | OI-311TH01-04 | Rake | 耙架 | METSO | normal | 20 | 60 | % | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 2 | -99999999
{'$oid': '604c8a4b1349e5c153ca695c'} | 63 | SOUTHEASTORE_PRJ_OS::OI-311TH02-01/MonAnalog.PV#Value | #2 Thickener Rake Torque-1 | #2浓密机耙架扭矩值-1 | OI-311TH02-01 | Rake | 耙架 | METSO | normal | 20 | 60 | % | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 2 | -99999999
{'$oid': '604c8a4b1349e5c153ca695d'} | 64 | SOUTHEASTORE_PRJ_OS::OI-311TH02-02/MonAnalog.PV#Value | #2 Thickener Rake Torque-2 | #2浓密机耙架扭矩值-2 | OI-311TH02-02 | Rake | 耙架 | METSO | normal | 20 | 60 | % | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 2 | -99999999
{'$oid': '604c8a4b1349e5c153ca695e'} | 65 | SOUTHEASTORE_PRJ_OS::OI-311TH02-03/MonAnalog.PV#Value | #2 Thickener Rake Torque-3 | #2浓密机耙架扭矩值-3 | OI-311TH02-03 | Rake | 耙架 | METSO | normal | 20 | 60 | % | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 2 | -99999999
{'$oid': '604c8a4b1349e5c153ca695f'} | 66 | SOUTHEASTORE_PRJ_OS::OI-311TH02-04/MonAnalog.PV#Value | #2 Thickener Rake Torque-4 | #2浓密机耙架扭矩值-4 | OI-311TH02-04 | Rake | 耙架 | METSO | normal | 20 | 60 | % | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 2 | -99999999
{'$oid': '604c8a4b1349e5c153ca6960'} | 67 | SOUTHEASTORE_PRJ_OS::PI-311TH01/MonAnalog.PV#Value | #1 Thickener Mud Pressure | #1浓密机泥层压力 | PI-311TH01 | Pressure Indicator | 压力计 | METSO | normal | -1 | 90 | Mpa | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a4b1349e5c153ca6961'} | 68 | SOUTHEASTORE_PRJ_OS::PI-311TH02/MonAnalog.PV#Value | #2 Thickener Mud Pressure | #2浓密机泥层压力 | PI-311TH02 | Pressure Indicator | 压力计 | METSO | normal | -1 | 90 | MPa | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '604c8a4b1349e5c153ca6964'} | 69 | SOUTHEASTORE_PRJ_OS::DIC-311TH01B_Back/BackFillingDiCtr.DI_SP#Value | #1 Thickener Discharge Concentration(write tag) | #1浓密机出料浓度(DCS系统设定值) | DIC-311TH01B | Density Controller | 浓度控制 | METSO | normal | 0 | 0 | - | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a4b1349e5c153ca6965'} | 70 | SOUTHEASTORE_PRJ_OS::DIC-311TH02B_Back/BackFillingDiCtr.DI_SP#Value | #2 Thickener Discharge Concentration(write tag) | #2浓密机出料浓度(DCS系统设定值) | DIC-311TH02B | Density Controller | 浓度控制 | METSO | normal | 0 | 0 | - | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '604c8a4c1349e5c153ca696a'} | 73 | SOUTHEASTORE_PRJ_OS::FIC-311TH01B/PID.SP_Int | #1 Thickener Discharge Flow(write tag) | #1浓密机底流流量(DCS系统设定值) | FIC-311TH01B | Flow Controller | 流量控制 | METSO | normal | 0 | 0 | - | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a4c1349e5c153ca696b'} | 74 | SOUTHEASTORE_PRJ_OS::FIC-311TH02B/PID.SP_Int | #2 Thickener Discharge Flow(write tag) | #2浓密机底流流量(DCS系统设定值) | FIC-311TH02B | Flow Controller | 流量控制 | METSO | normal | 0 | 0 | - | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '604c8a4c1349e5c153ca696c'} | 75 | SOUTHEASTORE_PRJ_OS::HIS-210FDM01/CementRatioSP.In01#Value | #1 Mixer Cement Sand Ratio(write tag) | #1搅拌机灰砂比(DCS系统设定值) | HIS-210FDM01 | Cement Ratio Controller | 灰砂比控制 | METSO | normal | 0 | 0 | - | {'$date': '2019-11-25T12:24:40Z'} | 0 | 1 | 0 | 0
{'$oid': '604c8a4c1349e5c153ca696d'} | 76 | SOUTHEASTORE_PRJ_OS::HIS-210FDM02/CementRatioSP.In01#Value | #2 Mixer Cement Sand Ratio(write tag) | #2搅拌机灰砂比(DCS系统设定值) | HIS-210FDM02 | Cement Ratio Controller | 灰砂比控制 | METSO | normal | 0 | 0 | - | {'$date': '2019-11-25T12:24:40Z'} | 0 | 2 | 0 | 0
{'$oid': '604c8a4d1349e5c153ca6971'} | 77 | SOUTHEASTORE_PRJ_OS::Concentration/Concentration.PV_In#Value | Thickener flocculant Concentration | 浓密机絮凝剂浓度 | DI-311FL01D | Concentration Indicator | 浓度计 | METSO | normal | 0 | 3 | % | {'$date': '2019-11-25T12:24:40Z'} | 0 | 0 | 0 | 0
{'$oid': '604c8a4e1349e5c153ca6980'} | 78 | NULL | #1 Thickener Discharge Concentration(write tag) | #1浓密机出料浓度(OPC写入) | DIC-311TH01B | Density Controller | 浓度控制 | METSO | normal | 0 | 0 | - | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a4e1349e5c153ca6981'} | 79 | NULL | #2 Thickener Discharge Concentration(write tag) | #2浓密机出料浓度(OPC写入) | DIC-311TH02B | Density Controller | 浓度控制 | METSO | normal | 0 | 0 | - | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '604c8a4e1349e5c153ca6986'} | 80 | SOUTHEASTORE_PRJ_OS::FIC-311TH01B/OCS.SP | #1 Thickener Discharge Flow(write tag) | #1浓密机底流流量(OPC写入) | FIC-311TH01B | Flow Controller | 流量控制 | METSO | normal | 0 | 0 | - | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a4e1349e5c153ca6987'} | 81 | SOUTHEASTORE_PRJ_OS::FIC-311TH02B/OCS.SP | #2 Thickener Discharge Flow(write tag) | #2浓密机底流流量(OPC写入) | FIC-311TH02B | Flow Controller | 流量控制 | METSO | normal | 0 | 0 | - | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '604c8a4e1349e5c153ca6988'} | 82 | SOUTHEASTORE_PRJ_OS::Dosing$Pump$A/OCS.SP | #1 Thickener flocculant Flow(write tag) | #1絮凝剂流量(OPC写入) | FI-311FL01D | Flocculant Addition Controller | 絮凝剂添加量控制 | METSO | normal | 0 | 0 | - | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '604c8a4e1349e5c153ca6989'} | 83 | SOUTHEASTORE_PRJ_OS::Dosing$Pump$C/OCS.SP | #2 Thickener flocculant Flow(write tag) | #2絮凝剂流量(OPC写入) | FI-311FL01C | Flocculant Addition Controller | 絮凝剂添加量控制 | METSO | normal | 0 | 0 | - | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '6082815b677f000062003ba4'} | 71 | SOUTHEASTORE_PRJ_OS::HIS-210FDM01/Motor.SP_Out#Value | #1 Instant Cement Delivery | #1 搅拌机水泥添加速度(DCS系统设定值) | HIS-210FDM01 | Cement Conveyor Belt | 水泥传送带 | METSO | normal | 0 | 200 | t/h | {'$date': '2019-11-25T12:24:40Z'} | 0 | 1 | 0 | 0
{'$oid': '60828192677f000062003ba5'} | 72 | SOUTHEASTORE_PRJ_OS::HIS-210FDM02/Motor.SP_Out#Value | #2 Instant Cement Delivery | #2 搅拌机水泥添加速度(DCS系统设定值) | HIS-210FDM01 | Cement Conveyor Belt | 水泥传送带 | METSO | normal | 0 | 200 | t/h | {'$date': '2019-11-25T12:24:40Z'} | 0 | 2 | 0 | 0
{'$oid': '6087c8678c53000092004fb2'} | 84 | SOUTHEASTORE_PRJ_OS::Dosing$Pump$A/OCS.PV_Out#Value | #1 Thickener flocculant Flow | #1絮凝剂流量(跟踪值) | FI-311FL01D | Flocculant | 絮凝剂添加量控制 | USTB1001 | normal | 0 | 20 | g/T | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '6087c8878c53000092004fb3'} | 85 | SOUTHEASTORE_PRJ_OS::Dosing$Pump$A/OCS.PV_Out#Value | #2 Thickener flocculant Flow | #2絮凝剂流量(跟踪值) | FI-311FL02D | Flocculant | 絮凝剂添加量控制 | USTB1001 | normal | 0 | 20 | g/T | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '6090017e711a0000ca005bf5'} | 86 | NULL | #1 Mixer Cement Sand Ratio(Calculation) | #1搅拌机灰砂比(计算值) | HIS-210FDM01 | Cement Ratio Controller | 灰砂比控制 | METSO | normal | 0 | 0 | - | {'$date': '2019-11-25T12:24:40Z'} | 0 | 1 | 0 | 0
{'$oid': '609001cc711a0000ca005bf6'} | 87 | NULL | #2 Mixer Cement Sand Ratio(Calculation) | #2搅拌机灰砂比(计算值) | HIS-210FDM02 | Cement Ratio Controller | 灰砂比控制 | METSO | normal | 0 | 0 | - | {'$date': '2019-11-25T12:24:40Z'} | 0 | 2 | 0 | 0
{'$oid': '609938cd0166000071003502'} | 88 | SOUTHEASTORE_PRJ_OS::Dosing$Pump$A/Flow_SP.SP_Out#Value | #1 Thickener flocculant Flow(DCS system setpoint) | #1絮凝剂流量(DCS系统设定值) | FI-311FL01D | Flocculant Addition Controller | 絮凝剂添加量控制 | METSO | normal | 0 | 0 | - | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '609938fa0166000071003503'} | 89 | SOUTHEASTORE_PRJ_OS::Dosing$Pump$C/Flow_SP.SP_Out#Value | #2 Thickener flocculant Flow(DCS system setpoint) | #2絮凝剂流量(DCS系统设定值) | FI-311FL02D | Flocculant Addition Controller | 絮凝剂添加量控制 | METSO | normal | 0 | 0 | - | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '60993b6d0166000071003504'} | 90 | SOUTHEASTORE_PRJ_OS::FI-311TH01C/MonAnalog.PV#Value | #1 Mixer Feed flow | #1搅拌机进料流量 | FI-311TH01C | Flow Indicator | 流量计 | METSO | normal | 0 | 250 | m3/h | {'$date': '2019-11-25T15:24:40Z'} | 0 | 1 | 0 | 0
{'$oid': '60993b990166000071003505'} | 91 | SOUTHEASTORE_PRJ_OS::FI-311TH02C/MonAnalog.PV#Value | #2 Mixer Feed flow | #2搅拌机进料流量 | FI-311TH02C | Flow Indicator | 流量计 | METSO | normal | 0 | 250 | m3/h | {'$date': '2019-11-25T15:24:40Z'} | 0 | 2 | 0 | 0
{'$oid': '60af66ff58630000a7005752'} | 92 | SOUTHEASTORE_PRJ_OS::PI-602PS01A/MonAnalog.PV#Value | #1 Diaphragm pump Inlet pressure | #1隔膜泵进口压力 | PI-602PS01A | Pressure Indicator | 压力计 | METSO | normal | 0.2 | 3 | MPa | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | 0.02 | -99999999
{'$oid': '60af671958630000a7005753'} | 93 | SOUTHEASTORE_PRJ_OS::PI-602PS02A/MonAnalog.PV#Value | #2 Diaphragm pump Inlet pressure | #2隔膜泵进口压力 | PI-602PS02A | Pressure Indicator | 压力计 | METSO | normal | 0.2 | 3 | MPa | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | 0.02 | -99999999
{'$oid': '60af675158630000a7005754'} | 94 | SOUTHEASTORE_PRJ_OS::PI-602PS03A/MonAnalog.PV#Value | #3 Diaphragm pump Inlet pressure | #3隔膜泵进口压力 | PI-602PS03A | Pressure Indicator | 压力计 | METSO | normal | 0.2 | 3 | MPa | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | 0.02 | -99999999
{'$oid': '60af697b58630000a7005755'} | 95 | NULL | #1 Diaphragm pump Bearing temperature | #1隔膜泵轴承温度(最大值) | Temperature Indicator | 温度计 | METSO | normal | -99999999 | 70 | ℃ | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | TI-602PS01 | 0 | 0
{'$oid': '60af69b758630000a7005756'} | 96 | #2 Diaphragm pump Bearing temperature | #2隔膜泵轴承温度(最大值) | Temperature Indicator | 温度计 | METSO | normal | -99999999 | 70 | ℃ | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | TI-602PS02 | NULL | 0 | 0
{'$oid': '60af69d658630000a7005757'} | 97 | #3 Diaphragm pump Bearing temperature | #3隔膜泵轴承温度(最大值) | Temperature Indicator | 温度计 | METSO | normal | -99999999 | 70 | ℃ | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | TI-602PS03 | NULL | 0 | 0
{'$oid': '60af6a6c58630000a7005758'} | 98 | SOUTHEASTORE_PRJ_OS::PI-602PS01/MonAnalog.PV#Value | #1 Diaphragm pump Pipeline pressure | #1隔膜泵管道压力 | PI-602PS01 | Pressure Indicator | 压力计 | METSO | normal | -99999999 | 5 | MPa | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | 0 | 0
{'$oid': '60af6a8358630000a7005759'} | 99 | SOUTHEASTORE_PRJ_OS::PI-602PS03/MonAnalog.PV#Value | #3 Diaphragm pump Pipeline pressure | #3隔膜泵管道压力 | PI-602PS03 | Pressure Indicator | 压力计 | METSO | normal | -99999999 | 5 | MPa | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | 0 | 0
{'$oid': '60b0a0092b240000690047f2'} | 100 | SOUTHEASTORE_PRJ_OS::FIC-311TH01B/Comms.Heartbeat | Underflow concentration control connection signal | 底流浓度控制连接信号 | Heartbeat | METSO | normal | -1 | 3 | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | 控制器 | Controller | NULL | 0 | 0
{'$oid': '60b71e44ac070000cd007374'} | 101 | SOUTHEASTORE_PRJ_OS::TI-602PS01H/MonAnalog.PV#Value |  | #1隔膜泵轴承温度1 | Temperature Indicator | 温度计 | METSO | normal | 0 | 70 | ℃ | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | TI-602PS01H | 0 | 0
{'$oid': '60b71e85ac070000cd007375'} | 102 | SOUTHEASTORE_PRJ_OS::TI-602PS01J/MonAnalog.PV#Value |  | #1隔膜泵轴承温度2 | Temperature Indicator | 温度计 | METSO | normal | 0 | 70 | ℃ | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | TI-602PS01J | 0 | 0
{'$oid': '60b71eabac070000cd007376'} | 103 | SOUTHEASTORE_PRJ_OS::TI-602PS01K/MonAnalog.PV#Value |  | #1隔膜泵轴承温度3 | Temperature Indicator | 温度计 | METSO | normal | 0 | 70 | ℃ | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | TI-602PS01K | 0 | 0
{'$oid': '60b71ed6ac070000cd007377'} | 104 | SOUTHEASTORE_PRJ_OS::TI-602PS01L/MonAnalog.PV#Value |  | #1隔膜泵轴承温度4 | Temperature Indicator | 温度计 | METSO | normal | 0 | 70 | ℃ | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | TI-602PS01L | 0 | 0
{'$oid': '60b73f86ac070000cd007379'} | 105 | SOUTHEASTORE_PRJ_OS::TI-602PS02H/MonAnalog.PV#Value |  | #2隔膜泵轴承温度1 | Temperature Indicator | 温度计 | METSO | normal | 0 | 70 | ℃ | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | TI-602PS02H | 0 | 0
{'$oid': '60b73fe0ac070000cd00737a'} | 106 | SOUTHEASTORE_PRJ_OS::TI-602PS02J/MonAnalog.PV#Value |  | #2隔膜泵轴承温度2 | Temperature Indicator | 温度计 | METSO | normal | 0 | 70 | ℃ | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | TI-602PS02J | 0 | 0
{'$oid': '60b74152ac070000cd00737b'} | 107 | SOUTHEASTORE_PRJ_OS::TI-602PS02K/MonAnalog.PV#Value |  | #2隔膜泵轴承温度3 | Temperature Indicator | 温度计 | METSO | normal | 0 | 70 | ℃ | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | TI-602PS02K | 0 | 0
{'$oid': '60b7417cac070000cd00737c'} | 108 | SOUTHEASTORE_PRJ_OS::TI-602PS02L/MonAnalog.PV#Value |  | #2隔膜泵轴承温度4 | Temperature Indicator | 温度计 | METSO | normal | 0 | 70 | ℃ | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | TI-602PS02L | 0 | 0
{'$oid': '60b741e6ac070000cd00737d'} | 109 | SOUTHEASTORE_PRJ_OS::TI-602PS03H/MonAnalog.PV#Value |  | #3隔膜泵轴承温度1 | Temperature Indicator | 温度计 | METSO | normal | 0 | 70 | ℃ | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | TI-602PS03H | 0 | 0
{'$oid': '60b74211ac070000cd00737e'} | 110 | SOUTHEASTORE_PRJ_OS::TI-602PS03J/MonAnalog.PV#Value |  | #3隔膜泵轴承温度2 | Temperature Indicator | 温度计 | METSO | normal | 0 | 70 | ℃ | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | TI-602PS03J | 0 | 0
{'$oid': '60b7422bac070000cd00737f'} | 111 | SOUTHEASTORE_PRJ_OS::TI-602PS03K/MonAnalog.PV#Value |  | #3隔膜泵轴承温度3 | Temperature Indicator | 温度计 | METSO | normal | 0 | 70 | ℃ | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | TI-602PS03K | 0 | 0
{'$oid': '60b74251ac070000cd007380'} | 112 | SOUTHEASTORE_PRJ_OS::TI-602PS03L/MonAnalog.PV#Value |  | #3隔膜泵轴承温度4 | Temperature Indicator | 温度计 | METSO | normal | 0 | 70 | ℃ | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | TI-602PS03L | 0 | 0
{'$oid': '60c0c824a6310000240067b3'} | 113 | SOUTHEASTORE_PRJ_OS::PSI300.ValueAssay1 |  | 磨矿粒度<74微米 | Grinding size Indicator | 磨矿粒度分析仪 | METSO | normal | 0 | 100 | % | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | PSI300 | 0 | 0
{'$oid': '60c0c864a6310000240067b4'} | 114 | SOUTHEASTORE_PRJ_OS::PSI300.ValueAssay3 |  | 磨矿粒度>150微米 | Grinding size Indicator | 磨矿粒度分析仪 | METSO | normal | 0 | 100 | % | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | PSI300 | 0 | 0
{'$oid': '60c0c8ada6310000240067b5'} | 115 | SOUTHEASTORE_PRJ_OS::PSI300.ValueAssay4 |  | 磨矿粒度150>113微米 | Grinding size Indicator | 磨矿粒度分析仪 | METSO | normal | 0 | 100 | % | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | PSI300 | 0 | 0
{'$oid': '60c0c8f0a6310000240067b6'} | 116 | SOUTHEASTORE_PRJ_OS::PSI300.ValueAssay5 |  | 磨矿粒度113>74微米 | Grinding size Indicator | 磨矿粒度分析仪 | METSO | normal | 0 | 100 | % | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | PSI300 | 0 | 0
{'$oid': '60c0c97aa6310000240067b7'} | 117 | SOUTHEASTORE_PRJ_OS::PSI300.ValueAssay6 |  | 磨矿粒度74>43微米 | Grinding size Indicator | 磨矿粒度分析仪 | METSO | normal | 0 | 100 | % | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | PSI300 | 0 | 0
{'$oid': '60c0c9dfa6310000240067b8'} | 118 | SOUTHEASTORE_PRJ_OS::PSI300.ValueAssay7 |  | 磨矿粒度43>38微米 | Grinding size Indicator | 磨矿粒度分析仪 | METSO | normal | 0 | 100 | % | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | PSI300 | 0 | 0
{'$oid': '60c0cad8a6310000240067b9'} | 119 | SOUTHEASTORE_PRJ_OS::PSI300.ValueAssay8 |  | 磨矿粒度<38微米 | Grinding size Indicator | 磨矿粒度分析仪 | METSO | normal | 0 | 100 | % | {'$date': '2019-11-25T15:24:40Z'} | 0 | 0 | PSI300 | 0 | 0
{'$oid': '60ce0f1d546a000019001103'} | 120 | SOUTHEASTORE_PRJ_OS::DIC-311TH01B_Diaph/PID.PV_Out#Value | #1 Thickener Discharge Concentration | #1浓密机出料浓度-排尾 | DIC-311TH01B | Density Indicator | 浓度计 | METSO | normal | 0 | 70 | % | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '60ce0f38546a000019001104'} | 121 | SOUTHEASTORE_PRJ_OS::DIC-311TH02B_Diaph/PID.PV_Out#Value | #2 Thickener Discharge Concentration | #2浓密机出料浓度-排尾 | DIC-311TH01B | Density Indicator | 浓度计 | METSO | normal | 0 | 70 | % | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '60d255a0cffed193fe6c4986'} | 122 | NULL | MIXER NUMBER CONNECTED BY #1 THICKENER | 被#1浓密机连接的搅拌机编号 | NULL | NULL | 逻辑值 | INTELLEGENCE | normal | 0 | 2 | NULL | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '60d255fdcffed193fe6c606b'} | 123 | NULL | MIXER NUMBER CONNECTED BY #2 THICKENER | 被#2浓密机连接的搅拌机编号 | NULL | NULL | 逻辑值 | INTELLEGENCE | normal | 0 | 2 | NULL | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '60ddb4a1d15f0000760044b2'} | 124 | SOUTHEASTORE_PRJ_OS::DIC-311TH01B_Back/MonAnalog1.PV_Out#Value | #1 Thickener Discharge Density | #1浓密机出料密度 | DIC-311TH01A | Density Indicator | 浓度计 | METSO | normal | -99999999 | 2 | % | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '60ddb4c8d15f0000760044b3'} | 125 | SOUTHEASTORE_PRJ_OS::DIC-311TH02B_Back/MonAnalog1.PV_Out#Value | #2 Thickener Discharge Density | #2浓密机出料密度 | DIC-311TH02A | Density Indicator | 浓度计 | METSO | normal | -99999999 | 2 | % | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0
{'$oid': '60ddbf49806e0000a90010b2'} | 126 | SOUTHEASTORE_PRJ_OS::DIC-311TH01B_Back/BackFillingDiCtr.DI_PV#Value | #1 Thickener Discharge Density | #1浓密机出料浓度 | DIC-311TH01B | Density Indicator | 浓度计 | METSO | normal | -99999999 | 70 | % | {'$date': '2019-11-25T12:24:40Z'} | 1 | 0 | 0 | 0
{'$oid': '60ddbf8c806e0000a90010b3'} | 127 | SOUTHEASTORE_PRJ_OS::DIC-311TH02B_Back/BackFillingDiCtr.DI_PV#Value | #2 Thickener Discharge Density | #2浓密机出料浓度 | DIC-311TH02B | Density Indicator | 浓度计 | METSO | normal | -99999999 | 70 | % | {'$date': '2019-11-25T12:24:40Z'} | 2 | 0 | 0 | 0